## Slide 1: Introduction to SRW
Luca Rebuffi (ANL)
Second OASYS School
APS-ANL, Lemont, IL
December 11-13, 2019
Notes: Univ of Chicago Review, Aug. 30, 2010
1
Good morning, my name is Luca Rebuffi and I am staff member of the X-Ray Optics Group at the APS of the Argonne National Laboratory

## Slide 2: Outline
Introduction to Wavefront Propagation
SRW Wavefront Propagators
Partial Coherence in SRW
Notes: My presentation, after a brief introduction on WPPM method, will show you how this method has been ported into the graphical environment of the suite Orange, and then will show you a few example of the WONDER software in action

## Slide 3
Introduction

## Slide 4
From Maxwell equations: wave equation describing spatial and temporal evolution of the electromagnetic fields in free space (D’Alembert equation)
Scalar theory: describe each component of the fields separately
stands for any of the three component of the vector fields or magnetic field or, for light propagating along the z direction, any of the two electric field components and .
can be spectrally decomposed as a superposition of monochromatic fields, using the Fourier Integral:
Electromagnetic field propagation in free space
Notes: Powder diffraction provides several information about a crystalline material: structural information like...

## Slide 5: Electromagnetic field propagation in free space
The terms in square bracket has to go to 0, so we obtain the separation of the temporal component and a new equation (Helmholtz equation)
⇒ Non-monochromatic light can be solved by calculating separately every monochromatic component
This expression can be used in the D’Alembert equation:
Solutions of the Helmholtz equation are plane waves:
Notes: Powder diffraction provides several information about a crystalline material: structural information like...

## Slide 6: Electromagnetic field propagation in free space
Where is the Fourier Transform of with respect and . From a physical point of view the last expression decompose the unpropagated wavefield into a linear combination of plane waves ().
This expression shows that the wavefield propagated at z is the wavefield calculated at z=0 multiplied by the factor , that can be termed Free Space Propagator.
Then,
Notes: Powder diffraction provides several information about a crystalline material: structural information like...

## Slide 7: Electromagnetic field propagation in free space
Rewriting the whole procedure in terms of operators:
= Diffraction Operator
By multiplying each of this plane waves for the free space propagator we obtain the propagated wavefield at
Notes: Powder diffraction provides several information about a crystalline material: structural information like...

## Slide 8: Fresnel Approximation
We assume to be paraxial, implying that all directions of propagations, for each of the non-negligible plane wave components in the angular-spectrum decomposition of the field over , make a small angle with respect to the positive z-axis.
This means that , , and so:
The Diffraction Operator becomes:

## Slide 9: Fresnel Approximation
By using the convolution theorem:
the following expression can be derived by the previous operator formula:
Where

## Slide 10: Fresnel Approximation
It is worth noting that this convolution expression, which expresses the propagated field as the sum of the propagated disturbances, which are due to each of the points on the incident wavefront over the plane . This is the mathematical embodiment of the Huygens-Fresnel principle, which views the propagated disturbance as a sum of the propagated disturbances that emanate from each point on the initial wavefront.
By calculating the convolution in its integral form, we obtain a version of the formula more convenient for numerical calculations, and to make a smooth transition to the Fraunhofer approximation:

## Slide 11: Analytical treatment of the quadratic radiation phase terms
From Oleg & Rafael paper
Chubar, O. and Celestre, R. Opt. Express 27, 28750-28759 (2019)

## Slide 12: Fraunhofer Approximation
Propagated wavefield at distances that are very large compared to the characteristic length scale of the unpropagated wavefield, are said to be in the “far-field”.
Assume the unpropagated disturbance, in the plane , to be non-negligible only over a region of diameter . We can introduce the dimensionless Fresnel number, , as:
The “far-field” condition is reached when the propagation distance is large enough that:
In this condition:

## Slide 13: Numerical Fourier Transform (FFT)
Describe artifacts: Replicas and Aliasing (from Manolo’s notes)
Chubar, O. and Celestre, R. Opt. Express 27, 28750-28759 (2019)

## Slide 14
SRW WAVEFRONT PROPAGATORS

## Slide 15: Standard Propagator
Notes: Powder diffraction provides several information about a crystalline material: structural information like...

## Slide 16: Quadratic Term/Quadratic Term Special Propagators
Notes: Powder diffraction provides several information about a crystalline material: structural information like...

## Slide 17: From Waist/To Waist Propagators
Notes: Powder diffraction provides several information about a crystalline material: structural information like...

## Slide 18: Number of Points in the Propagation Plane
Chubar, O. and Celestre, R. Opt. Express 27, 28750-28759 (2019)
For each transversal direction:
Notes: Powder diffraction provides several information about a crystalline material: structural information like...

## Slide 19
PARTIAL COHERENCE IN SRW

## Slide 20: SRW – Multi Electron
Notes: Powder diffraction provides several information about a crystalline material: structural information like...

## Slide 21: SRW – M.E.: Total Intensity
Notes: Powder diffraction provides several information about a crystalline material: structural information like...

## Slide 22: SRW – M.E.: Mutual Intensity
Notes: Powder diffraction provides several information about a crystalline material: structural information like...

## Slide 23: References
Official Repository
SRW Publications
Books
https://github.com/ochubar/SRW
Chubar, O. and Ellaume, P.: Accurate and efficient computation of synchrotron radiation in the near field region. Proceedings of the 6th European Particle Accelerator Conference - EPAC-98, pages 1177-1179
Chubar, O.: Wavefront calculations. Proc. SPIE, 4143:48-59 (2001)
Chubar, O., Berman, L., Chu, Y. S., Fluerasu, A., Hubert, S., Idir, M., Kaznatcheev, K., Shapiro, D. Shen, Q. and Baltser, J.: Development of partially-coherent wavefront propagation simulation methods for 3rd and 4th generation synchrotron radiation sources. Proc. SPIE, 8141:814107 (2011)
Chubar, O.: Recent updates in the "Synchrotron Radiation Workshop" code, on-going developments, simulation activities, and plans for the future. Proc. SPIE, 9209:920907 (2014)
Chubar, O., Rakitin, M., Chen-Wiegart, Y.K., Chu, Y.S., Fluerasu, A., Hidas, D. and Wiegart, L.: Main functions, recent updates, and applications of Synchrotron Radiation Workshop code. Proc. SPIE, 10388:1038805 (2017)
Paganin, D.: Coherent X-Ray Optics. Oxford Series on Synchrotron Radiation, 6. Oxford Science Publications (2006)
Chubar, O. and Celestre, R.: Memory and CPU efficient computation of the Fresnel free-space propagator in Fourier optics simulation. Opt. Express 27, 28750-28759 (2019)
Notes: Powder diffraction provides several information about a crystalline material: structural information like...

## Slide 24
Thank you!